Synthetic aperture laser optical feedback imaging using a translational scanning with galvanometric mirrors

Wilfried Glastre,* Olivier Jacquin, Olivier Hugon, Hugues Guillet de Chatellus, and Eric Lacot

Centre National de la Recherche Scientifique / Université de Grenoble 1,

Laboratoire Interdisciplinaire de Physique, UMR 5588,

Grenoble, F- 38041, France

*Corresponding author: wilfried.glastre@ujf-grenoble.fr

In this paper we present an experimental setup based on Laser Optical Feedback Imaging (LOFI) and on Synthetic Aperture (SA) with translational scanning by galvanometric mirrors for the purpose of making deep and resolved images through scattering media. We provide real 2D optical synthetic-aperture image of a fixed scattering target with a moving aperture and an isotropic resolution. We demonstrate theoretically and experimentally that we can keep microscope resolution beyond the working distance. A photometric balance is made and we show that the number of photons participating in the final image decreases with the square of the reconstruction distance. This degradation is partially compensated by the high sensitivity of LOFI.

OCIS codes: 070.0070, 090.0090, 110.0110, 180.0180.

Introduction

Making images with a good in-depth resolution through scattering media is a major issue, limited by a double problematics: first the scattering medium generally attenuates strongly the ballistic photons which enable to obtain resolved images and second, the wavefront is highly perturbed by scattered photons, degrading the quality of the resolved image. Several ways to overcome these problems have been proposed among which we can distinguish two main families. The first one uses pre-compensation of the wavefront before propagation, to improve the resolution. This technique is used successfully both with optics or acoustic modality [1,2,3], but it requires an a priori knowledge of the medium. The second one selects ballistic photons while rejecting multi-diffused parasitic photons: Optical Coherence Tomography (OCT) [4] and confocal microscopy associated [5] or not [6] to non linear effects belong to this family as well as tomographic diffractive microscopy [7]. Our Laser Optical Feedback Imaging (LOFI) setup, based on optical reinjection in the laser cavity [8,9,10] belongs to this second family. LOFI has the advantage of providing a simple, self-aligned and very sensitive optical system limited by shot noise [11,12] whatever the detector noise is. Losses in ballistic photons are compensated by this high sensitivity due to LOFI while multi-diffused photons are rejected by the confocal intrinsic feature of this technique. Furthermore it gives access to both amplitude and phase of the retrodiffused optical electric field.

In order to solve the issue of making in-depth images, we propose a new configuration based on synthetic aperture by translational scanning with galvanometric mirrors. The technique was introduced first in Synthetic Aperture Radar imaging (SAR) [13,14] to overcome the fact that no large portable aperture component exists for radio waves. Synthetic Aperture consists in scanning the target with a diverging beam while recording amplitude and phase informations (accessible thanks to LOFI in our case) on the movement of the laser spot with respect to the target. It enables to realize a numerical focusing to recover a good resolution. In the optical field, it has first been applied to optical wavelengths with CO2 [15] and Nd:YAG  microchip  laser  sources [16,17,18] in what is called Synthetic Aperture Laser (SAL). In all these previous pieces of work (SAR and SAL), the scanning was made only in one direction. The recovery of image resolution by synthetic aperture operation was performed in one direction (the scanning direction) whereas in the other direction only telemetry (a chirped signal is used instead of a monochromatic one, the frequency of the beating between the reinjected photons and the emitted signal depends on the round-trip length) is used to improve the resolution. Moreover at the beginning of SAL, the target itself was moved while the laser source was fixed. A setup presenting the advantage in terms of vibrations limitations and measurement speed, to have a fixed object and a scanning laser have been proposed in 2006 [19]. However, it has the drawback to be quite complex and as we said before, presents anisotropic resolution due to 1D scanning. In our case, by using two dimensional scanning with galvanometric mirrors, we are able to recover an isotropic resolution with a complete 2D scanning. Here we demonstrate what we believe to be the first 2D optical synthetic-aperture image of a fixed, scattering target with a moving aperture and an isotropic resolution. This work is a continuation of [20,21,22] where a galvanometric rotation scanning of a fixed object was performed with LOFI. The problem was that the object was scanned angularly, implying a degradation of the resolution with the reconstruction distance. The setup we propose here is based on a translational scanning of the object and we show that it implies a conservation of the resolution whatever the reconstruction distance is.

In a first part we present our experimental setup and remind the principles of LOFI; in particular the translational laser scanning by galvanometric mirrors is introduced. We then present in a second part a complete study of synthetic aperture operation and show that we can keep microscope resolution beyond the working distance. To conclude, in a third and last part dedicated to photometric performances of the setup, we show that the final image quality degrades proportionally to the square of the distance of numerical refocusing. This drawback is partially compensated by the high sensitivity of LOFI.

Reminder on LOFI and presentation of the experimental setup

Experimental setup

Figure 1 shows a description of the LOFI [8,9] experimental setup. The laser is a cw Nd:YVO4 microchip emitting about 85 mW power at λ = 1064 nm. This laser has a relaxation frequency near FR ≈ 2 MHz. On its first pass, the laser beam is frequency shifted by a frequency Fe/2 where Fe is close to the relaxation frequency of the laser (FR ≈ Fe), and then sent to the bidimensional target by means of two rotating mirrors, respectively called Mx and My. The first one allows scanning of the target in the horizontal direction (x direction) and the second one in the vertical direction (y direction). The angular orientations of the galvanometric mirrors are given by the angles αx and αy, respectively. The beam diffracted and/or scattered by the target is then reinjected inside the laser cavity after a second pass in the galvanometric scanner and the frequency shifter. The total frequency shift undergone by the photons reinjected in the laser cavity is therefore Fe which results in triggering relaxation oscillations of the microlaser and in amplifying the sensitivity of the device to the reinjected photons. A small fraction of the output beam of the microchip laser is sent to a photodiode. The delivered voltage is analyzed by a lock-in amplifier at the demodulation frequency Fe, which gives the LOFI signal (i.e. the amplitude and the phase of the electric field of the backscattered light). Experimentally, the LOFI images (amplitude and phase) are obtained pixel by pixel (i.e., point by point, line after line) by full 2D galvanometric scanning (αx, αy).

Figure 1 : Experimental setup of the synthetic aperture LOFI-based imaging system. The laser is a cw Nd:YVO4 microchip collimated by lens L1. A beam splitter sends 10% of the beam on a photodiode connected to a lockin amplifier which give access to the amplitude and phase of the signal. The frequency shifter is made of two acousto-optic modulators which diffract respectively in orders 1 and -1 and gives a net frequency shift of Fe / 2 = 1.5 MHz. X-Y plane is scanned (see  Figure 2) by galvanometric mirrors MX (scan in the X direction) and MY (scan in the Y direction) conjugated by a telescope made by lenses L3 and L4. f3, f4 and f5 are the focal lengths of lenses L3, L4 and L5. αX and αY are the angular positions of galvanometric mirrors MX and MY.

LOFI Signal

In the case of weak optical feedback, the coherent interaction (beating) between the lasing electric field and the frequency-shifted optical feedback field leads to an amplitude modulation of the laser output power [8,9]:

(1)

where Pout is the photon rate (number of photon per second) and Ωe = 2πFe with Fe the frequency shift. GR(Ωe) and ΦR(Ωe) are respectively the dynamical gain and the dynamical phase shift, which only depend on the laser parameters [9]:

(2)

where ΩR = 2πFR = (γ1γc(η-1))1/2 is the laser relaxation frequency, γc is the laser cavity damping rate, γ1 is the population inversion decay rate, and η is the normalized pumping parameter. Eq. (2) clearly shows a resonance when Ωe = ΩR, which provides the sensitivity of the LOFI technique. For our microchip laser, we have γc ≈ 7(109 s−1, γ1 ≈ 3.3(104 s-1, and for η = 1.7 we obtain GR(ΩR) = γc/ηγ1 ≈ 1.3(105. This gain allows us to detect a very weak optical feedback.

In Eq. (1), we have assumed that the target under investigation could be decomposed into a discrete sum of point-like targets indexed by i and characterized by their effective power reflectivity Re(αx,αy,xi,yi) depending on the laser incidence and by the optical phase shift Φ(αx,αy,xi,yi) due to the optical round trip between the laser and the punctual target. Eq. (1) also shows that the optical feedback is made by the coherent interaction (i.e. addition) of all punctual target points illuminated by the gaussian laser beam spot. The demodulation of the laser power at the frequency shift Fe by means of a lock-in amplifier gives us the quadrature components of the LOFI signal:

(3)

and thus the complex expression h((X,(Y) of the LOFI signal:

(4)

We must now consider two possibilities:

- “Conventional” LOFI (Figure 1 and  Figure 2 with L = 0) where we scan the object with a focused beam. We can get an amplitude [8,9] |h(αX,αY)| or phase [23,24] image ΦS(αX,αY).

- Synthetic Aperture (SA) imaging LOFI [20,21,22] corresponding to imaging with a defocused beam (Figure 1 and  Figure 2 with L ≠ 0). This raw complex image h(αX,αY) must be filtered to realize a numerical post focusing. It has the advantage, as we will see to make images beyond the working distance of the lens.

In the following, whatever the target position is, we index all parameters related to an image without any post processing with “R” (Raw) and those associated with a numerical refocusing with “SA” (Synthetic Aperture).

Experimental scanning

In order to get 2D image we need to have a relative translation between the target and the laser beam. In our setup we choose to keep a fixed target and to use galvanometric mirrors. The main advantage of this approach is to avoid parasitic vibrations and to benefit from the scanning speed of the galvanometric mirrors. Synthetic aperture using galvanometric mirrors has previously been presented in [20,21,22]. The object was scanned angularly by the two galvanometric mirrors and we showed that it was possible to obtain a resolved image from a raw defocus image after numerical refocusing. The main drawback was that the final synthetic resolution was degrading linearly with working distance (distance between the mirrors and the target) [20,21]. To avoid that problem we choose here a translational (instead of angular) scanning of the target and we will show in following parts that it implies a constant resolution independently from the working distance. In our scanning setup the two galvanometric mirrors (MX and MY) are conjugated by a telescope formed by lens L3 and L4 having the same focal length f3 = f4 = 50 mm leading to a magnification of 1 (see Figure 1); we call MX’ the image of MX through the telescope. To achieve a translational scanning in X and Y directions, the mirrors MX’ and MY are placed in the focal object plane of lens L5 (see  Figure 2). Lens L5 (focal length f5 = 25 mm here) converts the angular movement of the collimated laser beam after mirrors MX’ and MY into a movement of translation and focuses the beam with a waist radius r ≈ 13 μm in the focal image plane of L5. To further simplify our problem we make in the following, the approximation of paraxial and Gaussian optical rays which seems reasonable considering our experimental values (waist r = 13.5 μm for λ = 1064 nm). The relations between the angular position (αX,αY) of the mirrors MX and MY and the position (x,y) of the laser in the focal image plane are then given by:

(5)

Figure 2 : Scanning mechanism of the setup of Figure 1 after lens L4. The collimated laser beam is focused by the final imaging lens L5 in its focal image plane with a waist radius r. Mirror MX’ (image of MX through telescope, see Figure 1) and MY are in the focal object plane of imaging lens L5, which implies a displacement of the beam waist in the image focal plane of L5. The laser beam presents a slight misalignment with L5 optical axis and rotation axis of galvanometric mirror of dX in X direction and dY in the Y direction. αX and αY are the angular position of galvanometric mirrors MX’ and MY. When αX = αY = 0, the center of the beam is passing through the target (convention). x and y are the position of the waist in the focal image plane of L5. θX and θY are the angles of the center of the beam relative to the direction normal to the focal image plane of L5 (≠ 0 due to dX and dY). The target at a position (LθX, LθY) is scanned by a defocused beam at a distance L from the beam waist.

Due to mechanical imprecision, there can be a slight misalignment dX and dY between the laser beam axis and mirrors MX’ and MY rotation axis. As a result the angles θX and θY between laser beam axis and the Z direction ( Figure 2) are:

(6)

Point Spread Function (PSF) of the synthetic image

Raw paraxial impulse response

We consider the situation of Figure 1 and  Figure 2 where the target plane is situated at a distance L from the waist plane (focal image plane of L5) and is scanned by a defocused beam. Because the imaging system is linear (if the object is laterally translated, the raw acquired image is simply translated too), we only need to consider the case of the response hR(L,x,y) of a punctual object located on the beam axis for (X and (Y = 0. Then the target coordinates are (LθX, LθY). This is the Point Spread Function (PSF) of the imaging system at a distance acquisition of L from the waist plane. For a more complex image t(x,y), the signal given by the imaging system is simply t(x,y) * hR(L,x,y), where * is the convolution operator. As the signal corresponds to the coupling between the reinjected electric field and the electric field of the laser mode (Eq. (1)), we get:

(7)

With :

(8)

In the first equality of Eq (7), the square is due to the symmetrical coupling between the object and the laser mode. This factor was forgotten in [20,21,22] an so an error of √2 was made on the resolution in these articles; we have corrected this error here. Considering far-field situation (L >> ZR), hR(L,x,y) corresponds to a wavefront of lateral spatial width RESR(L) and a radius of curvature R(L) / 2 ≈ L / 2. It is interesting to see the spectral content of the signal. Using the stationary phase theorem [20,21] on Eq. (7), we get HR(L,υ,μ) the Fourier transform of hR(L,x,y), where (υ,μ) are the spatial frequencies associated with (x,y):

(9)

With:

(10)

Here too, it is important to give a more physical interpretation: each plane wave in the signal corresponds to a different spatial Doppler frequency. As a result HR(L,υ,μ) represents the decomposition of the signal into plane waves (each couple υ,μ represents a plane wave). The first exponential term represents the plane waves content of the laser beam of widths Δυ and Δμ inversely proportional to the waist r and centered around central Doppler shift (FX and FY proportional to θX and θY as seen in Eq. (10)). The second exponential term (phase term) gives the phase shifts between these plane waves which are characteristic of the defocus of the laser beam. More precisely, this second term corresponds to the free space transfer function over a distance L / 2 as expected.

Numerical refocusing process

It is possible to numerically refocus on the object by eliminating the quadratic dephasing between plane waves expressed in the second exponential term of  Eq. (9). This is equivalent to multiply HR(L,υ,μ) by the free space transfer function over a distance – L / 2 (retropropagation) Hfilter(L,υ,μ) given by:

(11)

After numerical filtering, we get a signal HSA(L,υ,μ) in the spatial frequency domain:

(12)

If we calculate the inverse Fourier transform of HSA(L,υ,μ) we obtain hSA(L,x,y) the final numerically refocused image in the plane of the target:

(13)

The final resolution is thus r / √2 which implies by comparing to Eq. (8) (RESR(0) = r / √2) that the lens L5 resolution is recovered despite defocused raw acquisition. It is important to note that after filtering, the resolution does not depend on L but only on the plane wave content of the signal and so on r.

Final image resolution and comparison with raw imaging

It has been previously shown that by numerically refocusing the raw image on the target plane, we get the same resolution RESR(0) as if we used a direct focusing on the object. The question we can now ask is what happens if we have a second object (object 2) in a plane at a distance δ from object 1 (see Figure 3 a)) and if we perform a numerical refocusing in the plane of object 1. What is the signal of object 2? Considering this, the new synthetic signal depends now on an additional parameter and is noted hSA(L-δ,L,x,y) where the first parameter is the distance between the laser waist and the plane of object 2 (here L-δ) and the second parameter the distance between the laser waist and the plane of refocusing containing objet 1 (here L). In the Fourier space, from the raw signal HR(L-δ,υ,μ) (see Eq. (10)), we get after filtering by Hfilter(L,υ,μ) (see Eq. (12)) the final signal HSA(L-δ,L,υ,μ) (the Fourier transform of hSA(L-δ,L,x,y)):

(14)

To avoid unnecessary and complicated calculations, it is more convenient to have a physical vision to get the expression of hSA(L-δ,L,x,y). We remind that hR(L-δ,x,y) corresponds to the expression of a wavefront which have been propagated from a waist r / √2 on a distance (L - δ) / 2 (width RESR(L-δ)), with angles (2θX, 2θY / Z direction). As Hfilter is the free space transfer function over a distance – L / 2 (Eq. (11)), we immediately deduce:

(15)

with:

(16)

RESSA(δ) is the resolution of the signal hSA(L-δ,L,x,y). By comparing Eq. (8) and Eq. (16) we note that RESSA(δ) = RESR(δ). This implies that, considering the resolution, the numerical filtering by Hfilter(L,υ,μ) transforms the system into an equivalent one where lens L5 is turned into a lens L5eq with a longer focal length f5eq = f5 + L but keeping the same Numerical Aperture (NA) (see Figure 3). As a result it is possible to get a higher working distance keeping a constant resolution and depth of field.

Figure 3 : Comparison in terms of resolution of the a) : Raw acquisition and b) : after numerical refocusing in the plane of object 1. δ is the distance between two objects of interest. SR(L) = π RESR(L)² is the surface of the beam at a distance L from the beam waist and SSA(δ) = π RESSA(δ)² is the surface of the beam at a distance δ from the plane of refocusing (here plane of object 1).

In addition to the capability of extending the working distance, this arrangement opens the possibility of fast 3D imaging since we are able to choose the plane of focusing numerically with a single X-Y object scanning. Further work about 3D imaging is planned in a close future.

Another thing to consider is the evolution of acquisition time and amount of data with the initial defocusing L. The number of data we have to store corresponds to the number of pixels in the raw image. The number of pixels needed corresponds to a correct sampling of the signal in the space – spatial frequency domain (the whole object field at Shannon frequency). In the case of the acquisition without defocusing (L = 0), since each raw pixel is acquired during an integration time T, the total acquisition Tacq (L = 0) is:

(17)

In this expression LX and LY are respectively the length and width of the target. In the case where L ≠ 0, the raw initial defocus increases the spatial width of the signal by 2RESR(L) in both X and Y directions; the spectral content stays unchanged (and so the sampling rate). As a result the total acquisition time is changed into Tacq (L):

(18)

As a conclusion, the ability of going beyond the working distance of L5 while keeping the resolution is possible at the cost of an increase of both time acquisition and quantity of data to store. This can be compared to angular galvanometric scanning developed in [22], where the time measurement stays constant whereas the resolution degrades with working distance.

Until that point, calculations have been performed for paraxial rays but if we consider all physical interpretations in term of plane wave phase manipulations, we can easily understand that it is possible to extend the analysis and the refocusing to lenses L5 with higher numerical aperture (microscope objectives for example) or with spherical aberration. Instead of using paraxial filter Hfilter we need to use a filter which eliminates the phase shifts between the plane waves in the raw signal (to eliminate the second exponential of Eq. (9)), this filter can be calculated exactly if we know the aberrations of the lens or objective L5.

Experimental validation

The setup described on Figure 1 has been built and tested. We then have chosen a target made of reflective silica beads of 40 μm diameter behind a circular aperture of 1 mm diameter (Figure 4 a). The raw acquisition performed at a distance L = 1 cm is given in Figure 4 b), this image is enlarged compared to the object because of the defocusing; Figure 4 c) gives the modulus of its Fourier transform and Figure 4 d) the numerically refocused image. We successfully pass from a defocused image with a resolution RESR(L = 1 cm) = 180 μm  to a numerically refocused image with a resolution RESSA(0) = RESR(0) = 9.5 μm. The optimal refocusing distance was determined by using the detection criteria described by Dubois et al. [Erreur ! Source du renvoi introuvable.]. The acquisition time for this 512*512 pixels image was approximately one minute with an integration time of T = 50 μs by pixel.

Figure 4 : example of synthetic aperture LOFI. a) Object under microscope. It is made of reflective silica beads of 40 μm diameter behind a circular aperture of 1 mm diameter. The bright field transmission image is made through a Zeiss microscope objective with a magnification of 10 and a 0.25 numerical aperture (focal length of 20 mm). b) : Raw image of the object with LOFI setup r = 13.5 μm, L = 1 cm, 512*512 pixels. The beam size on the target plane is equal to 180 μm: beads are not resolved. c) : Recorded image in the space frequency domain. d) : Image after numerical refocusing, a resolution RESR(0) = RESSA(0) = r / √2 = 9.5 μm is expected and verified experimentally.

We now have to experimentally check the theoretical prediction of Eqs. (8) and (16) about the resolution of the raw and synthetic signals. In order to measure the resolution versus the defocus, we consider single silica bead (object Figure 4 a)) and we fit a section along the X direction with a Gaussian function. This method is possible because, relatively to the laser, a silica (spherical) bead behaves like a punctual reflector located at the geometric center of the bead. The different experimental resolutions versus the defocus (Figure 5) are then fitted with the theoretical predictions (RESR(δ) and RESSA(δ) in Figure 5 a) and Figure 5 b)) respectively.

Figure 5 : Evolution of the resolution in the X direction with the defocus δ, fitted by the theoretical expression of RESR(δ). The resolution is calculated by fitting a section along X of the image of one bead in the image of Figure 4 (which is the PSF since the bead can be considered as a punctual scatterer). a) : Raw case, the defocus correspond to the L = δ in Figure 1 and  Figure 2. b) Synthetic case, the defocus corresponds to the difference between the parameter L during the acquisition and the numerical retro propagation distance L’ : δ = L – L’ (see Figure 3 b)).

We note that the theory is verified in both raw and synthetic cases. Fitting the experimental data leads to r / √2 ≈ 9.5 μm.

Photometric budget of the synthetic imaging setup

After the analysis of the resolution, we are now exploring photometric properties and more particularly the evolution of the signal power with the defocusing distance L (see Figure 1,  Figure 2 and Figure 3). First it is important to explain what we call “signal power”: it corresponds to the number of photons reinjected in the laser and so which participate to the image. According to Eq. (1), the LOFI signal corresponds to an electric field and as a result, the signal power is given by the square of the modulus of the signal. Once again, we make the approximation of paraxial rays but we consider a uniform distribution of laser intensity instead of a Gaussian one to simplify the problem. We perform the calculations with a Lambertian diffusive target of albedo ρ and of surface S. In order to have all the signal power concentrated in one pixel when we are focused on its plane (numerically or during the acquisition), the surface S is chosen smaller than SR(0) = π RESR(0)2 (the object is not resolved). SR(L) is the surface of the beam at a distance L from the beam waist as shown in Figure 3 a). We first present the calculation for the raw acquisition with L = 0 already done in [22], then we make the analysis for L ≠ 0 and to conclude we experimentally verify the theoretical expectations.

Direct focused LOFI

First we consider the case of raw acquisition directly in the target plane. The retrodiffused power PR in the only bright pixel of the image is given by [22]:

(19)

LR is the luminance and ER the illuminance in the focal image plane of L5. GR is the geometrical extent, P0 is the laser power sent on the object. SR(0) and the numerical aperture NA are given by :

(20)

We finally rewrite Eq. (19) in this form:

(21)

Synthetic LOFI

We now turn to the total power PSA(L) in the refocused image of a raw acquisition at a distance L ≠ 0. It is a bit more complicated since this image is built with several pixels Npixels(L) of the raw image due to the defocused scanning beam of surface SR(L) > SR(0); the signal in each of the pixels of the raw image have a power PRawSA(L). After numerical refocusing the power from all these Npixels(L) pixels is concentrated in a single synthetic pixel. We have:

(22)

With:

(23)

LSA(L) is the luminance, ESA(L) the illuminance in the plane of object 1 (Figure 3 a)) and GSA(L) is the geometrical extent of the laser spot. The number of pixels in the raw image participating in the synthetic bright pixel is:

(24)

By combining Eq. (22), Eq. (23) and Eq. (24), we get:

(25)

Finally we expect a decrease of the signal power proportional to L². Making images deeper than working distance of lens L5 has a cost in terms of signal power and then of Signal to Noise Ratio (SNR). However if we compare to [22], translationnal scanning shows a slower decrease of power (~1 / L2) than rotational scanning (~ 1 / L4).

Comparison between the two imaging modalities and discussion on the limitations

We have shown the asymptotic dependence of PSA with L. We now predict a more quantitative relation between PSA and PR. By definition:

(26)

By combining Eq. (21), Eq. (25) and Eq. (26), we finally get the following simple relation:

(27)

The ratio between two images acquired with and without defocusing is simply given by the ratio of surfaces of the beam in the two target planes of acquisition (SR(0) and SR(L)). In the same manner than with the resolution (but now considering photometric balance) we can ask what the parasitic signal introduced by object 2 located at a distance L - ( from the waist will be, if we want to image object 1 (Figure 3) considering that the two objects have the same albedo ρ and surface S. Similarly to the discussion on the resolution we need to introduce a new parameter in PSA(L) which become PSA(L-δ,L), the power from the object 2 in one pixel (which is perturbating the image of object 1) when we numerically refocus in the plane of object 1. The image of object 2 is then reduced to one pixel. We have the following relation:

(28)

Because of the defocusing effect we have:

(29)

In the last equality of Eq. (28), the first ratio corresponds to the defocus over a distance δ (Figure 3 b)) and the second factor of the final expression in Eq. (28) comes from Eq. (27) and is due to the total number of photons reinjected. It is important to remark that in the situation of a raw acquisition focused on object 2 (L - (  = 0), even if we refocus on object 1, the power of the parasitic signal in one pixel from object 2 in the synthetic image, is at the same level that the total power from object 1 (concentrated in only one pixel as we numerically refocus on it). As a result, in that situation, we are not able to separate object 2 from object 1 despite object 2 is defocused in the synthetic image; this is due to the excessive amount of power reinjected by object 2 during raw acquisition. Nevertheless, this situation is improved when both object 1 and 2 are acquired far from the waist (L is increased in Figure 3 a)). Indeed for high values of L (L >> δ), Eq. (28) is simplified in SR(δ) / SR(0) (> 1). However we showed in Eq. (25) that the total power reinjected by an object located at a distance L is degrading proportionally to L². As a result in order to have both a good separation between object 1 and 2 and a globally sufficient SNR, we must find a compromise for L.

Experimental validation

To confirm the theoretical predictions of the previous section, we have experimentally measured the power in the image of the previous object made with silica beads (Figure 4 a)). What we call the total power corresponds to the sum of the square modulus of the signal coming from all pixels of raw (Figure 4 b)) or refocused image (Figure 4 c)). Indeed, according to Parseval’s theorem and to Eq. (14) where the filter transfer function has a modulus equal to unity, the power in raw and refocused image is the same. We have experimentally measured the power in the signal versus the defocus of the raw acquisition, these points have then been fitted with the theoretical curve given by Eq. (27). These results are presented in Figure 6.

Figure 6 : Evolution of the signal power reflected by the object of Figure 4 a) versus the defocus L (see Figure 3 a)). Positive defocus corresponds to an increase of the distance between the object and the lens L5. The vertical axis has an arbitrary normalized unit.

We can consider that our theoretical predictions describe relatively well the experimental results. The main discrepancy arises for small defocus values, where there is a difference of a factor ~ 10. This could be explained by several approximations that have been made: we have neglected the small astigmatism of the laser beam that is important for low values of L and the non-lambertian nature of silica beads in the target.

Conclusion and future work

We have made the demonstration of a simple, self-aligned and very sensitive imaging system able to work beyond the working distance of an objective lens, which is particularly useful to make resolved image through deep turbid media. Theses performances have been reached by combining the use of the LOFI technology which gives the sensitivity and the self-alignment, with the original 2D translational scanning associated to aperture synthesis which keeps the resolution constant beyond the usual lens working distance. Thank to our simple 2D translational scanning with galvanometric mirrors, we realized, to our knowledge, the first imaging system based on synthetic aperture numerical treatment with a fixed target and an isotropic resolution. Concerning the resolution, we have shown that performing a numerical refocusing enables to transform the initial real objective or lens into an equivalent objective with a higher focal length (thus a longer working distance) while keeping the initial numerical aperture (and so the resolution). But we demonstrated also that this advantage is at the cost of an increased acquisition time and data storage (proportional to L²) and reduced photometric performances (proportional to 1 / L²). We have characterized the 3D PSF of our synthetic microscope with 2D images (silica beads). In a future work, we plan to investigate real 3D imaging. Regarding the photometric performances, we explored the signal power reinjected versus the acquisition defocus and the influence of diffusers in different planes when we are numerically focusing in another plane. We also have to present the influence of all noises and perturbations on our final image in order to get the final accessible SNR; this will be presented in a companion paper.

REFERENCES

S. M. Popoff, G. Lerosey, R. Carminati, M. Fink, A. C. Boccara, and S. Gigan, “Measuring the Transmission Matrix in Optics : An Approach to the Study and Control of Light Propagation in Disordered Media,” Phys. Rev. Lett. 104, 100601 (2010).

M. Pernot, J-F. Aubry, M. Tanter, A-L Boch, F. Marquet, M. Kujas, D. Seilhean, and M. Fink, “In vivo transcranial brain surgery with an ultrasonic time reversal mirror,” J. Neurosurg. 106, 1061-1066 (2007).

I. M. Vellekoop, C. M. Aegerter, “Scattered light fluorescence microscopy : imaging through turbid layers,” Opt. Letter. 35, 1245-1247 (2010).

A. Dubois, C. Boccara, “Full-filed OCT,” M S-Medecine Sciences. 22, 859-864 (2006).

P. Pantazis, J. Maloney, D. Wu, S. E. Fraser, “Second harmonic generating (SHG) nanoprobes for in vivo imaging,” PNASUSA. 107, 14535-14540 (2010).

M. Minsky, “Memoir on inventing the confocal scanning microscope,” Scanning. 10, 128-138 (1988).

S. Vertu, J. Flugge, J.J. Delaunay, and O. Haeberle, “Improved and isotropic resolution in tomographic driffractive microscopy combining sample and illumination rotation,” CENTRAL EUROPEAN JOURNAL OF PHYSICS. 44, 969-974 (2011).

E. Lacot, R. Day, and F. Stoeckel, “Laser optical feedback tomography,” Opt. Letters. 24, 744-746 (1999).

E. Lacot, R. Day, and F. Stoeckel, “Coherent laser detection by frequency-shifted optical feedback,” Phys. Rev. A 64, 043815 (2001).

K. Otsuka, “Self-Mixing Thin-Slice Solid-State Laser Metrology,” Sensors. 11, 2195-2245 (2011).

E. Lacot, O. Jacquin, G. Roussely, O. Hugon, and H. Guillet de Chatellus, “Comparative study of autodyne and heterodyne laser interferometry for imaging,” J. Opt. Soc. Am. A 27, 2450-2458 (2010).

O. Jacquin, E. Lacot, W. Glastre, O. Hugon, and H. Guillet de Chatellus, “Experimental comparison of autodyne and heterodyne laser interferometry using Nd:YVO4 microchip laser,” J. Opt. Soc. Am. A 28, 1741-1746 (2011).

J. C. Curlander and R. N. McDonough, Synthetic Aperture Radar: Systems and Signal Processing, (Wiley, 1991).

A. Ja. Pasmurov and J. S. Zimoview, Radar Imaging and Holography, (Institution of Electrical Engineers, 2005).

C.C. Aleksoff, J.S. Accetta, L.M.Peterson, A.M.Tai, A.Klossler, K. S. Schroeder, R. M. Majwski, J. O. Abshier, and M. Fee, “Synthetic aperture imaging with a pulsed CO2 laser,” Proc. SPIE 783, 29–40 (1987).

S. Markus, B. D. Colella, and T. J. Green, Jr., “Solid-state laser synthetic aperture radar, ” Appl. Opt. 33, 960 – 964 (1994).

T. J. Green, Jr., S. Markus, and B. D. Colella, “Synthetic-aperture-radar imaging with a solid-state laser,” Appl. Opt. 34, 6941 – 6949 (1995).

M. Bashkansky, R. L. Lucke, E. Funk, L. J. Rickard, and J. Reintjes, “Two-dimensional synthetic aperture imaging in the optical domain,” Opt. Lett. 27, 1983-1985 (2002).

S. M. Beck, J. R. Buck, W. F. Buell, R. P. Dickinson, D. A. Kozlowski, N. J. Marechal, and T. J. Wright, “Synthetic-aperture imaging laser radar: laboratory demonstration and signal processing,” Appl. Opt. 44, 7621 – 7629 (2005).

A. Witomski, E. Lacot, O. Hugon, and O. Jacquin, “ Synthetic aperture laser optical feedback imaging using galvanometric scanning,” Opt. Lett. 31, 3031 – 3033 (2006).

A. Witomski, E. Lacot, O. Hugon, and O. Jacquin, “Two dimensional synthetic aperture laser optical feedback imaging using galvanometric scanning,” Appl. Opt. 47, 860–869 (2008).

W. Glastre, E. Lacot, O. Jacquin, and H. Guillet de Chatellus, “Sensitivity of synthetic aperture laser optical feedback imaging,” J. Opt. Soc. Am. A. 29, doc. ID 156951 (accepted 6 December 2011, in press).

O. Hugon, E. Lacot, and F. Stoeckel, “Submicrometric Displacement and Vibration Measurement Using Optical Feedback in a Fiber Laser,” Fib. Integr. Opt. 22, 283-288 (2003).

O. Hugon, et al., “Coherent microscopy by laser optical feedback imaging (LOFI) technique,” Ultramicroscopy. 111, 1557-1563 (2011).

F. Dubois, C. Schockaert, N. Callens, C. Yourassowsky, “Focus plane detection criteria in digital holography microscopy by amplitude analysis,” Opt. Express, 14, 5895–5908 (2006).

# Text boxes

Phase

Amplitude

L2

L1

Frequency shifter Fe / 2

Lockin amplifier

z

y

x

Laser

L3

L5

L4

f3 + f4

f4

Mx

(X,Y

Lens axis z

dX,Y

2(X,Y

Waist displacement plane

f3

MY

Target

Target

L

f5

f5

(X

(

SR(0)

Object 2

SSA(0)

SSA(()

SR(L-()

SR(L)

b)

a)

NA

NA

Numerical refocusing on object 1

f5eq = f5 + L

L5eq

r

Object 1

f5

L5

(

L

r

Object 2

MX’, MY

L5

x,y

r

(Y

L